## Slide 1
1 meter
1 meter of velocity head
1 meter of pressure head
1 meter of elevation head
Reference elevation

## Slide 2
AguaClara Flocculator
Top Baffles
Bottom Baffles, underwater

## Slide 3
AguaClara Flocculator

## Slide 4
AguaClara Flocculator
AguaClara Flocculator
Top Baffles
Bottom Baffles, underwater

## Slide 5
Calibrate at max flow

## Slide 6
Baffles
Baffle

## Slide 7
Sutro Weir
LFOM

## Slide 11
Small diameter tubing

## Slide 12
Rapid Mix
Orifice
Holes to choose the dose
Tube from the stock tank
Air vent
Raw water
Float valve
Flexible tube

## Slide 13
in
out
Ain
Aout
Vin
Vout
x

## Slide 14
Horizontal orifice
Vertical orifice

## Slide 15
Pump
Overhead Tank
Constant head orifice
Overflow pipe

## Slide 16
A
B

## Slide 17
Pipe stub
Pipe coupling
Drain piping

## Slide 18
Sedimentation
tank drain
AutoCAD drawing of sedimentation tank, don’t worry if this is confusing!
You’ll learn about it in depth later on.

## Slide 20
Transparent flexible tube
Orifice
Float
Float
Orifice
Transparent flexible tube

## Slide 22
Simplified
energy equation
Just adding
K = 1 to the sum

## Slide 23
Flow of water
out of valve
Float
Range of
motion of float

## Slide 24
B
A
C

## Slide 26
Water source pipe
Valve
Tank
Valve
Tank
Water source pipe